| **Applicant Owned/ Operated Facility**  **Lake Fenton School District** | **Address or Parcel ID of Facility**  **11425 Torrey Rd** | **Potential to discharge pollutants to surface waters of the state.** | Catch basins | Discharge Point/Outfall | Detention basins | Oil/water separators | Pump Stations | Secondary containment | Constructed wetlands | Infiltration basins and trenches | Porous pavement | Rain gardens | Underground storage vaults or tanks | Vegetated swales | Other structural storm water controls – Provide a description below: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Lake Fenton High School | 4070 Lahring Rd | Medium | 44 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | N/A |
| Vehicle & Equipment storage | On Site at Middle School | High | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Lake Fenton Middle School/Administration Building | 11425 Torrey Rd | Medium | 23 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Torrey Hill & West Shore Elementary | 12410 Torrey Rd | Medium | 13 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |

**No other Facilities not listed above. No other Storm Water Controls not listed above.**