| **Applicant Owned/ Operated Facility****Mt Morris Consolidated** | **Address or Parcel ID of Facility** | **Potential to discharge pollutants to surface waters of the state.** | Catch basins | Discharge Point or outfall | Detention basins | Oil/water separators  | Pump Stations  | Secondary containment  | Constructed wetlands | Infiltration basins and trenches | Porous pavement | Rain gardens | Underground storage vaults or tanks | Vegetated swales | Other structural storm water controls – Provide a description below: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Administration Buildings | Butternut Creek | Medium | 3 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Pinehurst Elementary Ball Fields | N Saginaw St | Low | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Pinehurst Elementary | Pinehurst Rd | Low | 5 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | N/A |
| Central Middle School | Mt Morris St | Low | 6 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Mt. Morris Junior High School | 12356 Walter St | Low | 15 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Vehicle & Equipment storage | On site of Mt. Morris Jr High School | High | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Montague Elementary School | W Mt Morris St | Low | 6 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Johnson High School | 8041 Neff Rd | Low | 33 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Undeveloped-Vacant Property | Clio | Low | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A, No stormwater structures |

**No other Facilities not listed above. No other Storm Water Controls not listed above.**